[image: image1.png]%,

=

S,

oM g

2y o

&
20pa1ed

%




LAKE HAVASU CITY, ARIZONA

ADMINISTRATIVE SERVICES DEPARTMENT

♦ Procurement ♦

INVITATION TO BID
ANNUAL CONCRETE REPAIRS
PROJECT NO. B26-PW-500780
CORRECTED ADDENDUM NO. 1
MARCH 27, 2026
Attention is called to the following changes, additions, clarifications and/or deletions to the original solicitation and they shall be considered in preparing submissions:

There is no change in the opening date.  Submissions are due no later than 3:00 p.m.,

Arizona Time, April 8, 2026, at the City Clerk’s Office, 2330 McCulloch Blvd. N., 

Lake Havasu City, AZ  86403.

ITEM 1 – CLARIFICATION
Traffic Control and Work Authorization Clarification

REPLACE SECTION H-2 – SPECIAL PROVISIONS (Page 26, Paragraph 1) WITH THE FOLLOWING:
The Contractor shall receive work requests via email from the City Representative and shall respond to each request within forty-eight (48) hours, excluding weekends and holidays. Each work request or group of repairs will be project-specific and may include additional specifications or requirements unique to that project.

Traffic control is not included as a standalone bid item within the Bid Price Schedule. Requirements for traffic control will vary based on the location, scope, and complexity of each individual assignment, and shall be addressed on a per-project basis.

The Contractor shall submit a detailed proposal or quote for each work request identifying any additional costs not included in the unit price schedule, including but not limited to traffic control, signage, barricades, and other related measures. Upon approval by the City Representative, the Contractor shall complete all work within thirty (30) calendar days unless otherwise authorized. Priority of repairs will be determined solely by the City Representative, and the Contractor shall perform all assigned work in a consistent, timely, and professional manner.

\\

ITEM 2 – Questions

Question: On page 4 Section 8. Descriptive Literature. Does the city require this for every piece of equipment we plan to use on these projects? That is quite an extensive list. Every truck, trailer, tractor, or tools we plan to use? More clarification on this would be appreciated please. 

Answer: Page 4 Section 8. Descriptive Literature states that “All Bidders must submit complete manufacturer’s descriptive literature regarding the equipment they propose to furnish.”


For clarification, the City requires descriptive literature only for equipment that will be supplied to the City as part of the contract and included in the bid schedule.  Contractor-owned equipment used to perform the work but not given to the City does not require descriptive literature. 
Question: Will the city provide a wash out area for the concrete mixers? Can we wash out on the back side dirt area of one of the projects we're doing if we clean it up afterwards? Or do you have other ideas?

 
Answer: The City will not supply a wash out area.  Contractor will need to supply their own wash out container.  

Question: On page 17 it says "NOTE:  Contractor must complete A or B below."  Only section A is listed. I'm assuming it meant the section above section A regarding a corporation, LLC, or partnership?

 Answer: The City has provided a replacement document in this Addendum No. 1 to clarify the “A or B” reference on page 17. Bidders shall use the attached replacement document in the addendum and submit it with their bid in place of the original section.
Susie Fox



Senior Procurement Specialist
	2330 McCulloch Blvd N.     Lake Havasu City, Arizona 86403-5950     928.453-4188
purchasing.lhcaz.gov




[image: image1.png]